## Worksheet
|  | CENTRAL NEGROS POWER RELIABILITY, INC. |  |  |  |  | MATERIAL INVENTORY REPORT TO DATE
Purok San Jose, Brgy. Calumangan, Bago City
Tel. No. 476 - 7382
Date | 2021-08-12
Main Category |  |  |  |  | Sub-Category
No. | Local/Manila |  |  | Item Part No. | Item Description | Nominal Cost | Qty | Price | Uom | Location | Warehouse Location | Rack | Bin
1 | Manila |  |  | 1941 | Water Separator V23-1 | 2971.9 | 2 | 2971.9 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
2 | Manila |  |  | 32.12 | CON Rod Bearing 1.5mm (US) | 440 | 1 | 440 | set/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
3 | Manila |  |  | 32154/34154 | Gasket, bearing cover | 2907 | 8 | 2907 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
4 | Manila |  |  | 32181/34181 | Socket screw | 13.5 | 20 | 13.5 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
5 | Manila |  |  | 32182/34182 | Locking washer | 7.2 | 20 | 7.2 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
6 | Manila |  |  | 32192 | Locking ring | 1836 | 3 | 1836 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
7 | Manila |  |  | 3487 | Compression Ring, stepped. H.P. | 803.75 | 2 | 803.75 | pc/s | MHEC Warehouse | MHEC Warehouse | 4th Rack
8 | Manila |  |  | 3489 | Compression Ring, stepped. L.P. | 753.75 | 2 | 753.75 | pc/s | Warehouse | MHEC Warehouse | 4th Rack
9 | Manila |  |  | 3501 | Compression Ring, plain | 837.5 | 1 | 837.5 | pc/s | Warehouse | MHEC Warehouse | 4th Rack
10 | Manila |  |  | 3528 | Oil Ring, H.P. | 1105 | 1 | 1105 | pc/s | Warehouse | MHEC Warehouse | 4th Rack
11 | Manila |  |  | 3531 | Oil Ring, L.P. | 1256.25 | 2 | 1256.25 | pc/s | Warehouse | MHEC Warehouse | 4th Rack
12 | Manila |  |  | 3711 | Air Filter | 47.25 | 1 | 47.25 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
13 | Manila |  |  | 3857 | Seal Ring | 2.7 | 1 | 2.7 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
14 | Manila |  |  | 3871 | Bearing Roller | 36.45 | 1 | 36.45 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
15 | Manila |  |  | 3872 | Bearing Roller(1) | 64.8 | 1 | 64.8 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
16 | Manila |  |  | 3877 | Bearing Roller Needle | 6.75 | 2 | 6.75 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
17 | Manila |  |  | 3878 | Bearing Roller Needle(1) | 16.2 | 2 | 16.2 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
18 | Manila |  |  | 4332 | Solenoid Valve 1/2" | 182.25 | 2 | 182.25 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
19 | Manila |  |  | 4358 | Pressure switch 0-40 bar 1/4" KPS45 | 317.25 | 2 | 317.25 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
20 | Manila |  |  | 4420 | Safety Valve(1) | 28.35 | 2 | 28.35 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
21 | Manila |  |  | 4421 | Safety Valve(2) | 28.35 | 1 | 28.35 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
22 | Manila |  |  | 4491 | Non-return Valve | 54 | 2 | 54 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
23 | Manila |  |  | 4515 | Flexible Coupling Insert | 51.3 | 2 | 51.3 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
24 | Manila |  |  | 46017 | Hex headed screw | 9 | 15 | 9 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
25 | Manila |  |  | 46018 | Locking washer (46018) | 4.5 | 15 | 4.5 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
26 | Manila |  |  | 4658 | Safety Valve | 28.35 | 2 | 28.35 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
27 | Manila |  |  | 51015 | Hex. headed screw | 1782 | 14 | 1782 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
28 | Manila |  |  | 51016 | Verbusripp disc | 1512 | 19 | 1512 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
29 | Manila |  |  | 51019 | Hexagon - headed screw (nozzle ring bolt) | 1674 | 6 | 1674 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
30 | Manila |  |  | 51020 | Locking Plate | 594 | 9 | 594 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
31 | Manila |  |  | 62.111 | Gasket for L.O. Cooler Plate | 3109.12 | 49 | 3109.12 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
32 | Manila |  |  | 76021 | Socket Screw (1) | 61.5 | 16 | 65 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
33 | Manila |  |  | 84.111 | Gasket for air cooler | 6500 | 3 | 6500 | pc/s | MHEC Warehouse | MHEC Warehouse | 2nd Rack
34 | Manila |  |  | 84.122 | Gasket for Air cooler cover | 6500 | 3 | 6500 | pc/s | MHEC Warehouse | MHEC Warehouse | 2nd Rack
35 | Manila |  |  | 84.194 | Gasket | 750 | 5 | 750 | pc/s | MHEC Warehouse | MHEC Warehouse | 2nd Rack
36 | Manila |  |  | 84.199 | O-ring(1) | 750.5 | 4 | 1500 | pc/s | MHEC Warehouse | MHEC Warehouse | 2nd Rack
37 | Manila |  |  | 84.211 | Gasket (1) | 1200 | 8 | 1200 | pc/s | MHEC Warehouse | MHEC Warehouse | 2nd Rack
38 | Manila |  |  | B11B239502 | EPSON Scanner DS1630, Flatbed w/ 50 sheets ADF 25ppm/12ppm, 3-pass duplex, USB 3.0 | 23100 | 0 | 23100 | unit | Warehouse Office | MHEC Warehouse | 1st Rack
39 | Manila |  |  | C038170390Z | Special claw washer, 19 x 38 (AE1102009A) | 305.34 | 12 | 305.34 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
40 | Manila |  |  | C038170460Z | Gasket, bearing stopper (pump) | 148.73 | 12 | 148.73 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
41 | Manila |  |  | C038370460Z | Gasket, bearing stopper (gear) | 148.73 | 11 | 148.73 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
42 | Manila |  |  | C038570420Z | Gasket, pump body | 1354.23 | 7 | 1354.23 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
43 | Manila |  |  | C061500851Z | Tachometer, 70 (2), 2:1 R1000 | 8562.76 | 1 | 8562.76 | pc/s | Warehouse Office | MHEC Warehouse | 3rd Rack
44 | Manila |  |  | C062103140Z | O-Ring : G13, Cock Cover | 625 | 2 | 625 | pc/s | MHEC Warehouse | MHEC Warehouse | 3rd Rack
45 | Manila |  |  | C062103600Z | Element WR080SU250 | 55458 | 0 | 110 | pc/s | MHEC Warehouse | MHEC Warehouse | 3rd Rack
46 | Manila |  |  | C062103640Z_1001 | Element WR100SU200 | 196 | 0 | 196 | pc/s | MHEC Warehouse | MHEC Warehouse | 3rd Rack
47 | Local |  |  | CON-CHE_1001 | Dust Pan | 100 | 0 | 100 | pc/s |  | MHEC Warehouse | 3rd Rack
48 | Local |  |  | CON-CHE_1002 | Albatross(1) | 35.25 | 2 | 53 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
49 | Manila |  |  | CON-CHE_1003 | Kolor Kut Water Finding Paste | 440 | 2 | 440 | tube/s | Electrical Room | MHEC Warehouse | 1st Rack
50 | Manila |  |  | CON-CHE_1004 | KS 7110 | 320 | 100 | 320 | kg/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
51 | Manila |  |  | CON-CHE_1005 | KT 2180 | 260 | 100 | 260 | kg/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
52 | Manila |  |  | CON-CHE_1006 | KF 5180 | 220 | 100 | 220 | kg/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
53 | Local |  |  | CON-CHE_1007 | TH Buffer Solution (1000ml/btl) | 3500 | 3 | 3500 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
54 | Manila |  |  | CON-CHE_1008 | TH Indicator (500ml/btl) | 2150 | 2 | 2150 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
55 | Manila |  |  | CON-CHE_1009 | 0.02 EDTA (1000ml/btl) | 800 | 2 | 800 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
56 | Manila |  |  | CON-CHE_1010 | Safety Solvent Degreaser - Fast Dry (Brand: TRI-KLEEN) | 5198 | 2 | 5198 | pail/s | Warehouse | MHEC Warehouse
57 | Manila |  |  | CON-CON_1002 | Teflon Tape | 9.5 | 13 | 8.5 | pc/s | Warehouse Office | Warehouse Office | 1st Rack
58 | Manila |  |  | CON-CON_1003 | Welding Apron | 240 | 2 | 240 | pc/s | Warehouse Office | Warehouse Office | 1st Rack
59 | Manila |  |  | CON-CON_1004 | Welding Gloves | 110 | 1 | 110 | pc/s | Warehouse Office | Warehouse Office | 1st Rack
60 | Manila |  |  | CON-CON_1005 | WD-40 | 213 | 0 | 213 | pc/s | Warehouse Office | Warehouse Office | 1st Rack
61 | Local |  |  | CON-EIC_1001 | LED Bulb 15W | 170 | 0 | 170 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
62 | Local |  |  | CON-OFF_1001 | Correction Tape | 22.5 | 0 | 20 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
63 | Local |  |  | CON-OFF_1002 | Brown Folder | 6 | 0 | 6 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
64 | Local |  |  | CON-OFF_1003 | Sticky Notes | 35 | 0 | 35 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
65 | Local |  |  | CON-OFF_1004 | Letter Envelop - long | 0.76 | 0 | 0.8 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
66 | Local |  |  | CON-OFF_1005 | Scissor | 30 | 0 | 30 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
67 | Local |  |  | CON-OFF_1006 | Vinyl Coated clips | 102 | 0 | 102 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
68 | Local |  |  | CON-OFF_1007 | Ruler | 6 | 0 | 6 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
69 | Local |  |  | CON-OFF_1008 | Highligther - diff. colors | 25 | 0 | 25 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
70 | Local |  |  | CON-OFF_1009 | Sticky Notes (3x2) | 25 | 0 | 25 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
71 | Local |  |  | CON-OFF_1010 | Archfile (blue) | 120 | 0 | 120 | pc/s | Electrical Room | MHEC Warehouse | 2nd Rack
72 | Local |  |  | CON-OFF_1011 | Correction Tape - (8m) | 28 | 0 | 28 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
73 | Local |  |  | CON-OFF_1012 | Whiteboard Ink refill - Black | 138 | 0 | 138 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
74 | Local |  |  | CON-OFF_1013 | Clear Plastic Refill for Fire Ex tag, | 32 | 17 | 32 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
75 | Local |  |  | CON-OFF_1014 | Certificate Holder | 45 | 5 | 45 | pc/s | Warehouse Office | MHEC Warehouse
76 | Local |  |  | CON-OFF_1015 | Clear Book Refill ( 10pcs/pack) | 32 | 1 | 32 | pack/s | Warehouse Office | MHEC Warehouse
77 | Manila |  |  | E283300120A | Gasket, 205/270 | 924.48 | 12 | 924.48 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
78 | Manila |  |  | E289100070Z | Joint set, 1/4 x 3/8 | 2974.8 | 1 | 2974.8 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
79 | Manila |  |  | E322170200B_1001 | Gasket, Exhaust Manifold | 79.53 | 20 | 79.53 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
80 | Manila |  |  | E325070150A | O-RING, 391 x 7 (silicon) | 4282.4 | 34 | 4282.4 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
81 | Manila |  |  | E325170070Z | Piston Pin | 67317.17 | 1 | 67317.17 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
82 | Manila |  |  | E325170140A | Oil Ring (coil) - CR.6 | 7497.86 | 8 | 7075.54 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
83 | Manila |  |  | E325170180A | Compression Ring, CR | 3231 | 5 | 3231 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
84 | Manila |  |  | E325270070Z | Circular Nut, M48x3.0 | 8880.87 | 4 | 8880.87 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
85 | Manila |  |  | E325270090Z | Lock Cap Nut, M48 | 12895.84 | 4 | 12895.84 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
86 | Manila |  |  | E325610240Z | Special plug, M42 x 2.0 (AE02056014A) | 3497.68 | 0 | 3497.68 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
87 | Manila |  |  | E325670060Z | Intake valve seat (NCX-1) | 5006.425 | 6 | 10002.85 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
88 | Manila |  |  | E325670260Z | Nozzle holder guide | 44380.8 | 1 | 44380.8 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
89 | Manila |  |  | E325670280Z | Fulcrum, nozzle holder clamp | 2831.31 | 1 | 2831.31 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
90 | Manila |  |  | E325670300Z | Guide, Valve yoke | 31603.27 | 4 | 32037.51 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
91 | Manila |  |  | E325670430Z | Pipe Indicator | 2480.01 | 1 | 2480.01 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
92 | Manila |  |  | E325770030z | Intake valve S637T | 36382.32 | 2 | 36382.32 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
93 | Manila |  |  | E325770060Z | Valve Cotter | 3349.21 | 7 | 3774.48 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
94 | Manila |  |  | E325770100Z | Valve Spring, 9 x 57 x 168 | 3937.17 | 5 | 3759.9 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
95 | Manila |  |  | E325770110Z | Valve Spring, 12 x 82 x 182.5 | 5035.78 | 1 | 5035.78 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
96 | Manila |  |  | E325770140Z | Stop ring, Valve | 601.72 | 32 | 836.19 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
97 | Manila |  |  | E325800200A | Rubber ring, C.W. connector | 174.68 | 40 | 174.68 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
98 | Manila |  |  | E325870130D | Exhaust Valve, HNP Nimonic | 69858.16 | 0 | 69858.16 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
99 | Manila |  |  | E325970020Z | Holder, rocker arm shaft | 31423.42 | 1 | 31423.42 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
100 | Manila |  |  | E325970070A | Tee, Intake vlave yoke | 6918.94 | 2 | 6918.94 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
101 | Manila |  |  | E325970080A | Tee, exhaust valve yoke | 8144.16 | 2 | 8144.16 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
102 | Manila |  |  | E325970100Z | Bush, rocker arm | 5693.72 | 2 | 5693.72 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
103 | Manila |  |  | E325970180Z | Valve end cap | 1609.64 | 2 | 1609.64 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
104 | Manila |  |  | E325970210A | Adjusting screw, valve yoke | 1330.82 | 2 | 1330.82 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
105 | Manila |  |  | E325970230Z | Seat (2), valve yoke | 1150.18 | 4 | 1150.18 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
106 | Manila |  |  | E325970250Z | Clip | 1150.18 | 10 | 1150.18 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
107 | Manila |  |  | E325970290Z | Adjusting valve | 1813.84 | 4 | 1813.84 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
108 | Manila |  |  | E325970330Z | Adjusting bolt | 1456.48 | 2 | 1456.48 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
109 | Manila |  |  | E326070080A | Plug, Starting valve | 4615.35 | 1 | 4615.35 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
110 | Manila |  |  | E326070100Z | Distance 15A x 25 | 346.72 | 2 | 346.72 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
111 | Manila |  |  | E326070140Z | Special Washer, 21 x 31 | 1389.15 | 3 | 1389.15 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
112 | Manila |  |  | E326270090Z | Nut, high pressure pipe (pump) | 2120.15 | 1 | 2120.15 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
113 | Manila |  |  | E326270100Z | Nut, high pressure pipe (holder) | 2120.15 | 1 | 2120.15 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
114 | Manila |  |  | E326270150A | Nozzle holder (cooling) | 53614.44 | 2 | 53614.44 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
115 | Manila |  |  | E326270280C | Bracket, high pressure pipe cover | 14458.78 | 2 | 14458.78 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
116 | Manila |  |  | E326270330B | Nozzle, DLF140UB559N27 | 19435.89 | 15 | 18335.09 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
117 | Manila |  |  | E326273200Z | Inlet Connector | 10964.47 | 10 | 10964.47 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
118 | Manila |  |  | E326370100Z | Union joint (1) | 2439.435 | 0 | 4874.87 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
119 | Manila |  |  | E326370110Z | Union Joint (2) | 4696.6 | 0 | 4696.6 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
120 | Manila |  |  | E326370170Z | Cover Nut, Cylinder head | 1727.43 | 4 | 1727.43 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
121 | Manila |  |  | E326472130A | O-Ring | 1135.71 | 10 | 1135.71 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
122 | Manila |  |  | E326472180B | O-ring 11 | 773.34 | 33 | 68.61 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
123 | Manila |  |  | E326472340Z | Control rack | 7531.3 | 2 | 7531.3 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
124 | Manila |  |  | E326472350B | Control sleeve | 12997.05 | 2 | 12997.05 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
125 | Manila |  |  | E326670010Z | Tappet guide | 47179.84 | 1 | 47179.84 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
126 | Manila |  |  | E326770190Z | Gasket, blank cover | 141.45 | 12 | 141.45 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
127 | Manila |  |  | E326870040Z | Push Rod | 19458.62 | 1 | 19458.62 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
128 | Manila |  |  | E326870080Z | Protective Tube, push rod | 6698.06 | 0 | 6698.06 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
129 | Manila |  |  | E326870140Z | Holder, protective tube | 6551.39 | 0 | 6551.39 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
130 | Manila |  |  | E326870160Z | Gasket, protective tube | 236.14 | 24 | 236.14 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
131 | Manila |  |  | E405900210Z | Seat, valve yoke | 1150.18 | 4 | 1150.18 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
132 | Manila |  |  | E406200090Z | Cotter, injection pump | 4519.05 | 12 | 1150.12 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
133 | Manila |  |  | E406300090Z | Stud, head cover | 1314.37 | 0 | 1314.37 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
134 | Manila |  |  | EIC-PAR_1001 | Vibration Damper | 16250 | 12 | 16250 | pc/s | Warehouse Office | Warehouse Office | 1st Rack
135 | Manila |  |  | EIC-PAR_1002 | IFO ELECTRIC Ceramic Blade Type 25A, 500-660volts, AC NH00 gL-Gg |  | 0 | 1470 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
136 | Manila |  |  | EIC-PAR_1003 | IFO ELECTRIC Ceramic Blade Type 63A, 500-660volts, AC NH00 gL-Gg |  | 0 | 1550 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
137 | Manila |  |  | EIC-PAR_1004 | Motor Circuit Breaker 20-25A Type: GV2-P22 Device Application: Motor, Network Type: AC Frequency: 50/60Hz, Breaking Capacity: 4kA @690V; current rating: 20-25, Number of Poles: 3 | 7912 | 0 | 7912 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
138 | Manila |  |  | EIC-PAR_1005 | Schneider GVAE1 | 1728 | 0 | 1728 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
139 | Manila |  |  | EIC-PAR_1006 | Schneider GVAN20, 2NO | 2904 | 0 | 2904 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
140 | Manila |  |  | EIC_1007 | Hour Meter, Brand: Autonics, Model: LE8N-BF, Input: Free-Voltage, Power: Built-In | 2184 | 2 | 2184 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
141 | Manila |  |  | FFE-FUR_1001 | Office Table CM48 grey | 2800 | 1 | 2800 | pc/s | MHEC Warehouse | MHEC Warehouse | Admin Office
142 | Manila |  |  | PMS_1001 | Cotton Rags for PMS | 46.6667 | 58 | 40 | kg/s | Warehouse | Electrical Room | 2nd Rack
143 | Manila |  |  | PMS_1316 | WD-40 382ml (EIC Cleaning) PMS | 230 | 3 | 230 | can/s | Electrical Room | MHEC Warehouse | Warehouse Ground
144 | Manila |  |  | TOO-MEA_1001 | Sounding Tape - BMI Gauging Tape, length: 10m | 4670 | 0 | 4670 | set/s | Electrical Room | MHEC Warehouse | 1st Rack
145 | Manila |  |  | X200010065ZZ | Bolt, M10 x 1.5 x 65 | 839.94 | 2 | 839.94 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
146 | Manila |  |  | X200010105ZZ | Bolt, M10 x 1.5 x 105 | 859.94 | 4 | 859.94 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
147 | Manila |  |  | X210012038Z | Stud, M12 x 1.75 x 38 | 341.45 | 6 | 341.45 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
148 | Manila |  |  | X220020000ZZ | Nut, M20 x 2.5 (220030000) | 828.16 | 10 | 828.16 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
149 | Manila |  |  | X220027000ZZ | Nut, M27 x 3.0 | 906.7 | 12 | 906.7 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
150 | Manila |  |  | X220308000ZZ | Nut, (3), M8 x 1.25 | 800.67 | 4 | 800.67 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
151 | Manila |  |  | X220324000ZZ | Nut (3), M24 x 3.0 | 902.73 | 8 | 902.73 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
152 | Manila |  |  | X251206006ZZ | Set screw (2), M6 x 1.0 x 6 | 816.38 | 6 | 816.38 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
153 | Manila |  |  | X251206006ZZ | Set screw (2), M6 x 1.0 x 8 | 816.38 | 6 | 816.38 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
154 | Manila |  |  | Z320003030Z | Split Pin (0) 3 x 30 | 61.32 | 8 | 61.32 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
155 | Manila |  |  | Z320006050Z | Split Pin, 6 x 50 | 401.29 | 0 | 401.29 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
156 | Manila |  |  | Z560101424ZZ | O-RING (1), 1AP-14 | 800.67 | 15 | 800.67 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
157 | Manila |  |  | Z560102435DZ | O-RING, P24 | 757.24 | 0 | 757.24 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
158 | Manila |  |  | Z560103835ZZ | O-Ring (1) 1 AP -38 | 81 | 2 | 81 | pc/s | MHEC Warehouse | MHEC Warehouse | 3rd Rack
159 | Manila |  |  | Z560104535ZZ | O-Ring (1) 1 AP-45 | 93 | 2 | 93 | pc/s | MHEC Warehouse | MHEC Warehouse | 3rd Rack
160 | Manila |  |  | Z560114057Z | O-RING P140 | 163.3 | 4 | 163.3 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
161 | Manila |  |  | Z560203531D_1001 | O-RING, G35 | 340 | 45 | 340 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
162 | Manila |  |  | Z560211031DZ | O-Ring, G110 (E365605010Z) | 582.13 | 12 | 582.13 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
163 | Manila |  |  | Z560211531DZ | O-RING, G115 | 582.13 | 5 | 582.13 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
164 | Manila |  |  | Z560217057ZZ | O-Ring (2) 1 AG-170 | 486 | 0 | 486 | pc/s | MHEC Warehouse | MHEC Warehouse | 3rd Rack
165 | Manila |  |  | Z560219557Z | O-RING, P195 | 239.78 | 4 | 239.78 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
166 | Manila |  |  | Z560222057ZZ | O-Ring : G220 | 821 | 2 | 821 | pc/s | MHEC Warehouse | MHEC Warehouse | 3rd Rack
167 | Manila |  |  | Z560225057ZZ | O-Ring (2) 1AG-250 | 985 | 1 | 985 | pc/s | MHEC Warehouse | MHEC Warehouse | 3rd Rack
168 | Manila |  |  | Z56104435DZ | O-ring, P44 | 454.36 | 17 | 454.36 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
169 | Manila |  |  | Z567001402CC | Gasket, 14-2 | 184.8 | 101 | 184.8 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
170 | Manila |  |  | Z571401000ZZ | Taper plug (4), 1/8 | 883.14 | 5 | 883.14 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
171 | Manila |  |  | Z571501000Z | Taper plug (5), 1/8 | 622.02 | 3 | 622.02 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
172 | Manila |  |  | Z571503000ZZ_1001 | Taper plug (5), 3/8 | 755.44 | 3 | 691.59 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
173 | Manila |  |  | _1001 | Cotton Gloves | 11 | 157 | 8.5 | pair/s | Warehouse Office |  | 1st Rack
174 | Manila |  |  | _1002 | Masking Tape 1" | 20.375 | 28 | 18.75 | pc/s | Warehouse Office |  | 1st Rack
175 | Manila |  |  | _1003 | Masking Tape 2" | 37.5 | 3 | 37.5 | pc/s | Warehouse Office | Warehouse | 1st Rack
176 | Manila |  |  | _1004 | Welding Rod 6011(1/8) | 838.75 | 8 | 117.5 | kg/s | Warehouse | Warehouse | 1st Rack
177 | Manila |  |  | _1005 | Standard Steel Tape Measure 5M | 150 | 1 | 150 | pc/s | Warehouse Office | Warehouse | 2nd Rack
178 | Manila |  |  | _1006 | Rubber Tape (local) | 66 | 5 | 66 | pc/s | Warehouse Office | Warehouse | 1st Rack
179 | Local |  |  | _1007 | C-Purlins | 350 | 0 | 350 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
180 | Local |  |  | _1008 | Alcohol | 550 | 0 | 550 | gal/s | Warehouse Office | Warehouse Office | 1st Rack
181 | Local |  |  | _1009 | DIESEL | 39 | 0 | 40.1 | ltr/s | Warehouse | MHEC Warehouse | Warehouse Ground
182 | Manila |  |  | _1010 | High Cut NK 83 Safety shoes of Mark Justiniano - under warranty | 0 | 0 | 0 | pair/s | Warehouse Office | MHEC Warehouse | 1st Rack
183 | Manila |  |  | _1011 | Garbage Bag XXL (100 pc/pack) | 750 | 0 | 750 | pack/s | Warehouse Office | MHEC Warehouse | 1st Rack
184 | Manila |  |  | _1012 | Chlorine KF-4880 | 305 | 12 | 305 | bot/s | Electrical Room | MHEC Warehouse | 2nd Rack
185 | Manila |  |  | _1013 | Pole Clamp RL 18" -20" | 957.6 | 5 | 957.6 | pc/s | Electrical Room | MHEC Warehouse | 2nd Rack
186 | Manila |  |  | _1014 | Wedge Connector 336.4MCM | 1821.12 | 3 | 1821.12 | pc/s | Electrical Room | MHEC Warehouse | 2nd Rack
187 | Local |  |  | _1015 | Walis - Tingting | 30 | 0 | 30 | pc/s | Electrical Room | MHEC Warehouse | 3rd Rack
188 | Local |  |  | _1016 | Walis - Tambo | 135 | 0 | 135 | pc/s | Electrical Room | MHEC Warehouse | 3rd Rack
189 | Local |  |  | _1017 | Hand held floor brush | 15 | 0 | 15 | pc/s | Electrical Room | MHEC Warehouse | 3rd Rack
190 | Local |  |  | _1018 | Floor brush - Long handle | 45 | 0 | 45 | pc/s | Electrical Room | MHEC Warehouse | 3rd Rack
191 | Local |  |  | _1019 | Trash bin - Large | 90 | 0 | 90 | pc/s | Electrical Room | MHEC Warehouse | 3rd Rack
192 | Local |  |  | _1020 | Albatross | 15 | 0 | 15 | pc/s | Electrical Room | MHEC Warehouse | 3rd Rack
193 | Local |  |  | _1021 | Storage Box | 450 | 0 | 450 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
194 | Local |  |  | _1022 | Green cross Alcohol Ethel (500 ml) | 90 | 0 | 90 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
195 | Local |  |  | _1023 | Hot & Cold Compress Bag | 550 | 0 | 550 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
196 | Local |  |  | _1024 | Betadine (120ml) | 120 | 0 | 120 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
197 | Local |  |  | _1025 | Mediplast Tape | 25 | 0 | 25 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
198 | Local |  |  | _1026 | Biogesic | 3.7 | 0 | 3.7 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
199 | Local |  |  | _1027 | Solmux | 10.45 | 0 | 10.45 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
200 | Local |  |  | _1028 | Neosep | 4.95 | 0 | 4.95 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
201 | Local |  |  | _1029 | Alaxan | 7.95 | 0 | 7.95 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
202 | Local |  |  | _1030 | Loperamide Diatabs | 7.45 | 0 | 7.45 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
203 | Local |  |  | _1031 | Bioflu | 7.45 | 0 | 7.45 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
204 | Local |  |  | _1032 | Burn treatment - silver sulfadiazine | 200 | 0 | 200 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
205 | Local |  |  | _1033 | Nafarin A | 7 | 0 | 7 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
206 | Local |  |  | _1034 | Sterile Gauze Swabs | 4 | 0 | 4 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
207 | Local |  |  | _1035 | Absorbent Cotton | 5 | 0 | 5 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
208 | Local |  |  | _1036 | White Flower (1.5ml) | 245 | 0 | 245 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
209 | Local |  |  | _1037 | Sphygmomanometer | 900 | 0 | 900 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
210 | Manila |  |  | _1038 | Threade Insert, Helicoil/ensat bush, (for 8mm bolt) | 500 | 7 | 500 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
211 | Manila |  |  | _1039 | 2 tons x 1m nylon sling ; china | 200 | 0 | 200 | pc/s | Warehouse Office | MHEC Warehouse
212 | Manila |  |  | _1040 | 2 tons x 2m nylon sling : CHINA | 300 | 1 | 300 | pc/s | Warehouse Office | Warehouse
213 | Manila |  |  | _1041 | 2 tons x 4m nylon sling : CHINA | 400 | 2 | 400 | pc/s | Warehouse Office | Warehouse
214 | Manila |  |  | _1042 | Smith USA Size: 6" Gate Valve | 6856.5 | 0 | 13700 | unit/s | MHEC Warehouse | Warehouse
215 | Local |  |  | _1043 | Galvanized Iron pipe Sch.40, size 1" | 618 | 3 | 618 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
216 | Local |  |  | _1044 | Galvanized Iron pipe Sch.40, size 1/2" | 320 | 4 | 320 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
217 | Local |  |  | _1045 | G.I. coupling 1" | 45 | 0 | 45 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
218 | Local |  |  | _1046 | G.I. 90 Elbow 1/2" | 45 | 0 | 45 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
219 | Local |  |  | _1047 | Ball valve (5bars) 1" | 595 | 0 | 595 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
220 | Local |  |  | _1048 | U bolt 1/2" | 250 | 0 | 250 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
221 | Local |  |  | _1049 | Cutting disc 4in x 2mm | 375 | 0 | 375 | pack/s | Warehouse | MHEC Warehouse | Warehouse Ground
222 | Manila |  |  | _1050 | Manual Pipe threader 1/2" to 2' NPT | 41550 | 1 | 41550 | set/s | Warehouse Office | MHEC Warehouse | 1st Rack
223 | Local |  |  | _1051 | Diesel Fuel for Black Start | 42.07 | 0 | 44 | ltr/s | Warehouse | MHEC Warehouse | Warehouse Ground
224 | Local |  |  | _1052 | Muriatic Acid | 274 | 0 | 274 | gal/s | Warehouse Office | MHEC Warehouse | 2nd Rack
225 | Local |  |  | _1053 | Surf Powder (1.1kg) | 93.3333 | 1 | 90 | kg/s | Warehouse Office | MHEC Warehouse | 2nd Rack
226 | Manila |  |  | _1054 | Lube Oil -Shell Argina S4 SAE 40 | 26483.3333 | 11 | 29445 | drum/s |  | Engine Room
227 | Local |  |  | _1055 | Type "B" USB Cable (printer cable) 10 meters | 580 | 0 | 580 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
228 | Local |  |  | _1056 | VGA Cable (1.5 mtrs) | 180 | 0 | 180 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
229 | Manila |  |  | _1057 | Samsung 24" Slim Monitor, Model: LS24F350FHEXXP | 6950 | 0 | 6950 | unit | Electrical Room | MHEC Warehouse | 4th Rack
230 | Manila |  |  | _1058 | Hard hat blue eagle with chin strap - Ratchet type with chin strap-(White) | 350 | 0 | 350 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
231 | Manila |  |  | _1059 | Whalen- 5 Layer Steel Rack | 5499 | 0 | 5499 | pc/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
232 | Local |  |  | _1060 | Diesel (for cleaning) | 42.908 | 35 | 45.36 | ltr/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
233 | Local |  |  | _1061 | Clonidine 75g (Catapres) | 15 | 0 | 15 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
234 | Manila |  |  | _1062 | B.I. Pipe 1 1/4 schd. 80 | 120 | 0 | 120 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
235 | Manila |  |  | _1063 | B.I. Elbow 90, 1 1/4, schd.80 | 2100 | 0 | 2100 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
236 | Manila |  |  | _1064 | Desktop Clone i5, Intel i5-9400 Processor + MSI H310 PRO-VDH, Windows 10 pro, Kingston 8gb ddr4 2400/2666, Seagate 1tb sata 3.5 hdd, A4tech usb combo keyboard mouse, AVR Secure, Neutron casing with PSU s607, | 26200 | 0 | 26200 | unit | Admin | Admin | Admin Office
237 | Manila |  |  | _1065 | AOC 18.5" Monitor | 3600 | 0 | 3600 | unit | Admin | Admin | Admin Office
238 | Manila |  |  | _1066 | DLINK DWA 121 Wireless N150 PICO USB Adapter | 500 | 0 | 500 | unit | Admin | Admin | Admin Office
239 | Manila |  |  | _1067 | APC BX625CI-MS APC BACK UPS 625VA, 230V, AVR FLOOR | 3800 | 0 | 3800 | unit | Admin | Admin | Admin Office
240 | Local |  |  | _1068 | Disinfectant Liquid Soap (watsons) | 116.75 | 0 | 100 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
241 | Local |  |  | _1069 | Disposable Mask | 80 | 0 | 80 | box/s | Warehouse Office | MHEC Warehouse | 1st Rack
242 | Local |  |  | _1070 | Alcohol (puregold) | 500 | 0 | 500 | Gall/s | Warehouse Office | MHEC Warehouse | 1st Rack
243 | Local |  |  | _1071 | Alcohol (Generics) | 499 | 0 | 499 | Gall/s | Warehouse Office | MHEC Warehouse | 1st Rack
244 | Local |  |  | _1072 | Telephone (Panasonic) | 900 | 0 | 900 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
245 | Local |  |  | _1073 | Flexible hose 1/2 | 10 | 0 | 10 | mtr/s | Warehouse | MHEC Warehouse | Warehouse Ground
246 | Local |  |  | _1074 | Plastic molding 1/2 | 65 | 5 | 65 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
247 | Local |  |  | _1075 | Telephone Outlet | 350 | 0 | 350 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
248 | Local |  |  | _1076 | Beddings (single) | 450 | 0 | 450 | set/s | Electrical Room | MHEC Warehouse | 1st Rack
249 | Local |  |  | _1077 | Pillow | 250 | 0 | 250 | pc/s | Electrical Room | MHEC Warehouse | 2nd Rack
250 | Local |  |  | _1078 | Door knob | 625 | 0 | 400 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
251 | Local |  |  | _1079 | Cylindrical Hinges 1/2 x 4" | 65 | 0 | 65 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
252 | Manila |  |  | _1080 | 3/4 BI Pipe Sched 80 | 1110 | 1 | 1110 | lgth/s | Warehouse | MHEC Warehouse | Warehouse Ground
253 | Manila |  |  | _1081 | 3/4 BI Elbow 90° | 0 | 4 | 0 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
254 | Manila |  |  | _1082 | 3/4 Brass Globe Valve | 448.8 | 1 | 448.8 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
255 | Manila |  |  | _1083 | Storage Bin XL (blue) | 0 | 0 | 0 | pc/s | Warehouse | MHEC Warehouse | Warehouse Ground
256 | Manila |  |  | _1084 | Best Girl S3 Safety Shoes: S Sole PU/Toecap: Steel Cap: Midsole: Steel Linig, Mesh Nylon: Insole: Latex Size: 6 | 1850 | 0 | 1850 | pair/s | Electrical Room | MHEC Warehouse | 1st Rack
257 | Manila |  |  | _1085 | Steel Brush | 18.5 | 15 | 18 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
258 | Manila |  |  | _1086 | Stretch Film | 700 | 0 | 700 | roll/s | Electrical Room | MHEC Warehouse | 1st Rack
259 | Manila |  |  | _1087 | Welding Rod 12.5mm NSS-308 | 492 | 1 | 492 | kg/s | Warehouse | MHEC Warehouse | 4th Rack
260 | Manila |  |  | _1088 | Grinding Disc (4"x1/4x5/8") | 1930 | 0 | 1930 | box/s | Warehouse Office | MHEC Warehouse | 1st Rack
261 | Manila |  |  | _1089 | Loctite #495 - 20g | 352 | 1 | 352 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
262 | Local |  |  | _1090 | Black Ballpen | 46.625 | 0 | 48 | box/s | Electrical Room | MHEC Warehouse | 4th Rack
263 | Local |  |  | _1091 | Clear Scotch Tape 2" | 42.49 | 0 | 40 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
264 | Local |  |  | _1092 | Short Bond Paper | 202.05 | 1 | 170 | ream/s | Electrical Room | MHEC Warehouse | 4th Rack
265 | Local |  |  | _1093 | Long Bond Paper | 270.7 | 5 | 197 | ream/s | Electrical Room | MHEC Warehouse | 4th Rack
266 | Local |  |  | _1094 | Staple wire (#35) | 47.25 | 0 | 45 | box/s | Electrical Room | MHEC Warehouse | 4th Rack
267 | Local |  |  | _1095 | A4 Bond paper | 172.2233 | 0 | 175 | ream/s | Electrical Room | MHEC Warehouse | 4th Rack
268 | Local |  |  | _1096 | Brown Envelop (Long) | 2.5 | 0 | 2.5 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
269 | Local |  |  | _1097 | Folder - Long (white) | 4.4167 | 13 | 4.5 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
270 | Local |  |  | _1098 | White Board Marker | 56 | 0 | 56 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
271 | Local |  |  | _1099 | Masking Tape 1" for Office | 30.5 | 0 | 31 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
272 | Local |  |  | _1100 | Clear scotch tape 1" | 19 | 0 | 20 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
273 | Local |  |  | _1101 | Sharpener | 5 | 0 | 5 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
274 | Local |  |  | _1102 | Stapler | 350 | 0 | 350 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
275 | Local |  |  | _1103 | Fastener | 32.75 | 0 | 34 | box/s | Electrical Room | MHEC Warehouse | 4th Rack
276 | Local |  |  | _1104 | Logbook 500pages | 90.6667 | 0 | 92 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
277 | Local |  |  | _1105 | Heavy Duty Mop for offices | 2149 | 0 | 2149 | pc/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
278 | Local |  |  | _1106 | Stainless Steel Sprayer - 16L | 3450 | 0 | 3450 | pc/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
279 | Local |  |  | _1107 | Stockings | 43.5 | 14 | 37 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
280 | Local |  |  | _1108 | Joy Dishwashing Liquid 600ml | 123.3333 | 5 | 110 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
281 | Local |  |  | _1109 | Primer Paint Grey | 125 | 0 | 125 | ltr/s | Electrical Room | MHEC Warehouse | 4th Rack
282 | Local |  |  | _1110 | Paint Thinner | 35 | 0 | 35 | bot/s | Electrical Room | MHEC Warehouse | 4th Rack
283 | Local |  |  | _1111 | Paint Brush 2" | 28.5 | 2 | 12 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
284 | Local |  |  | _1112 | Paint Brush 1" | 25 | 0 | 25 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
285 | Manila |  |  | _1113 | Adjustable Fog Nozzle Brass Type 1 1/2" | 2632 | 0 | 2632 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
286 | Local |  |  | _1114 | Clip Board | 95 | 0 | 112 | pc/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
287 | Local |  |  | _1115 | Expanding Envelope (orange) | 15 | 0 | 15 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
288 | Local |  |  | _1116 | Metal Clip (small) | 20 | 0 | 20 | box/s | Electrical Room | MHEC Warehouse | 4th Rack
289 | Local |  |  | _1117 | Expanded Folder Long (orange) | 15 | 0 | 15 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
290 | Local |  |  | _1118 | Yellow Colored Paper (long) | 200 | 0 | 200 | ream/s | Electrical Room | MHEC Warehouse | 4th Rack
291 | Local |  |  | _1119 | EMT Coupling 1/2 | 35 | 0 | 35 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
292 | Manila |  |  | _1120 | Raincoat Local (P&J) Large | 340 | 0 | 340 | set/s | Electrical Room | MHEC Warehouse | 4th Rack
293 | Manila |  |  | _1121 | Raincoat Local (P&J) Extra large | 340 | 0 | 340 | set/s | Electrical Room | MHEC Warehouse | 4th Rack
294 | Manila |  |  | _1122 | Raincoat Local (P&J) Medium | 340 | 0 | 340 | set/s | Electrical Room | MHEC Warehouse | 4th Rack
295 | Local |  |  | _1123 | Battery (type C) | 30 | 10 | 30 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
296 | Local |  |  | _1124 | Battery (AAA) | 50 | 30 | 50 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
297 | Manila |  |  | _1125 | Flexible hose pipes with flange end (rotary) , Material: Stainless Steel, Standard: JIS, AISI, ASTM, GB, DIN, En, Heat resistance: 50C - 60C | 4150 | 4 | 4150 | pc/s | MHEC Warehouse | MHEC Warehouse | 2nd Rack
298 | Local |  |  | _1126 | Safety Googles | 35 | 5 | 35 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
299 | Local |  |  | _1127 | Nylon Rope #18 | 10 | 30 | 10 | mtr/s | Electrical Room | MHEC Warehouse | 4th Rack
300 | Manila |  |  | _1128 | Black Ink (Epson) | 950 | 1 | 300 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
301 | Manila |  |  | _1129 | Circlip Int#31 (O.D. 33.30) | 0 | 7 | 0 | pc/s | MHEC Warehouse | MHEC Warehouse | 2nd Rack
302 | Manila |  |  | _1130 | HM Digital 1000ppm TDS & EC Calibration Solution | 750 | 2 | 750 | bot/s | Electrical Room | MHEC Warehouse | 4th Rack
303 | Manila |  |  | _1131 | Xylene (4liters/gallon) | 950 | 7 | 950 | gal/s | Electrical Room | MHEC Warehouse | 4th Rack
304 | Manila |  |  | _1132 | Porous Boiling Chips - VWR 26397-409 (8oz) | 680 | 1 | 680 | bot/s | Electrical Room | MHEC Warehouse | 4th Rack
305 | Manila |  |  | _1133 | Nitrile Gloves (disposable) ansell green 7.5M powder-free x 100 | 1505 | 0 | 1505 | box/s | Electrical Room | MHEC Warehouse | 4th Rack
306 | Manila |  |  | _1134 | Telephone Jacketed Cable, 4core x 18awg, 0.65mm, brand: philflex, 150meters | 12.8 | 0 | 12.8 | mtr/s | Electrical Room | MHEC Warehouse | 1st Rack
307 | Local |  |  | _1135 | Dark Green Metal Paint | 550 | 1 | 550 | gal/s | Electrical Room | MHEC Warehouse | 1st Rack
308 | Local |  |  | _1136 | Black Metal Paint | 550 | 0 | 550 | gal/s | Electrical Room | MHEC Warehouse | 2nd Rack
309 | Local |  |  | _1137 | Paint Brush 3" | 59.6667 | 5 | 29 | pc/s | Electrical Room | MHEC Warehouse | 2nd Rack
310 | Local |  |  | _1138 | Surf powder 1.1kg for Cleaning toilet | 93.1667 | 0 | 95.5 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
311 | Local |  |  | _1139 | Joy Dishwashing Liquid (600ml) | 130.6667 | 3 | 127 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
312 | Local |  |  | _1140 | Safety Glass | 35 | 0 | 35 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
313 | Local |  |  | _1141 | Blind Revits | 240 | 1 | 240 | box/s | Warehouse Office | MHEC Warehouse | 1st Rack
314 | Local |  |  | _1142 | Cutting Disc (4"x1/24x5/8) | 15 | 39 | 15 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
315 | Local |  |  | _1143 | WD-40 (382ml) | 247.5 | 5 | 250 | can/s | Warehouse Office | MHEC Warehouse | 1st Rack
316 | Local |  |  | _1144 | Yellow Metal Paint | 580 | 0 | 580 | gal/s | Warehouse Office | MHEC Warehouse | 1st Rack
317 | Local |  |  | _1145 | Battery (LR44-A76/1.5V) | 2 | 14 | 2 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
318 | Local |  |  | _1146 | Thick Mop | 88 | 0 | 88 | pc/s | Electrical Room | MHEC Warehouse | Admin Office
319 | Local |  |  | _1147 | Type "B" cable (printer cable) -1.5 mtrs | 150 | 0 | 150 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
320 | Local |  |  | _1148 | USB Extension Cable - 5meters | 300 | 0 | 300 | pc/s | Electrical Room | MHEC Warehouse | Admin Office
321 | Local |  |  | _1149 | Royu Outlet double | 49 | 0 | 49 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
322 | Local |  |  | _1150 | Pendant Switch (chain pull socket switch) | 40 | 0 | 40 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
323 | Manila |  |  | _1151 | Condenser tube brush (1/4,3/8,1/2,5/8,3/4,7/8, 1 inch) | 37.88 | 1 | 37.88 | set/s | Electrical Room | MHEC Warehouse | 4th Rack
324 | Manila |  |  | _1152 | Element: SS+SUS304*350 MESH: MFR: MIZUNO STRAINER INDUSTRIES CO. LTD-JAPAN | 30000 | 0 | 30000 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
325 | Manila |  |  | _1153 | FILTER ELEMENT: SP51: B001: TYPE: UNI/FV51-X: KANAGAWA KIKI KOGYO CO., LTD-JAPAN | 120000 | 0 | 120000 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
326 | Manila |  |  | _1154 | Facemask (surgical mask) | 35 | 0 | 35 | box/s | Admin | Admin | Admin Office
327 | Local |  |  | _1155 | Ordinary Rock Salt | 347.2233 | 9 | 350 | sack/s | Auxiliary Site | Warehouse | Auxiliary Site
328 | Manila |  |  | _1156 | Cork Board 3x4 | 1452.5 | 0 | 1785 | pc/s | Electrical Room | MHEC Warehouse | Warehouse Ground
329 | Manila |  |  | _1157 | White Board 4x8 | 3190 | 0 | 3190 | pc/s | Electrical Room | MHEC Warehouse | Warehouse Ground
330 | Local |  |  | _1158 | Machete 18" Long | 600 | 3 | 600 | pc/s | Warehouse Office | MHEC Warehouse | 2nd Rack
331 | Local |  |  | _1159 | Sickel 18" Long (halabas) | 530 | 3 | 530 | pc/s | Warehouse Office | MHEC Warehouse | 2nd Rack
332 | Local |  |  | _1160 | Check Valve 1 1/4" standardized Connection type: Threaded, Material: Brass | 700 | 2 | 700 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
333 | Local |  |  | _1161 | Text Screw Adaptor 10mm | 40 | 0 | 40 | pc/s | Warehouse Office | MHEC Warehouse | 2nd Rack
334 | Local |  |  | _1162 | G.I. Plain Sheet Gauge 16, 4x8ft | 1600 | 0 | 1600 | sht/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
335 | Local |  |  | _1163 | Epoxy Primer | 667.5 | 0 | 685 | gal/s | Warehouse | MHEC Warehouse | Warehouse Ground
336 | Local |  |  | _1164 | Lacquer Thinner | 225 | 0 | 225 | gal/s | Warehouse | MHEC Warehouse | Warehouse Ground
337 | Local |  |  | _1165 | Welding Rod -E6011 | 145 | 15 | 140 | kg/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
338 | Local |  |  | _1166 | Flat Bar 3/8 x 1 1/2 x 20ft | 750 | 0 | 750 | lgth/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
339 | Local |  |  | _1167 | Rust Converter | 750 | 0 | 750 | gal/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
340 | Local |  |  | _1168 | Text screw 1 1/2 | 1.25 | 0 | 1.25 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
341 | Local |  |  | _1169 | Drill Bit 1/8 | 60 | 0 | 60 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
342 | Local |  |  | _1170 | Vulcaseal 1/2 liter | 465 | 0 | 465 | ltr/s | Warehouse Office | MHEC Warehouse | 1st Rack
343 | Local |  |  | _1171 | Garden Hose 1/2 x 6 meters | 900 | 0 | 900 | lgth/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
344 | Local |  |  | _1172 | Hose Clamp | 35 | 0 | 35 | pc/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
345 | Local |  |  | _1173 | Ordinary Faucet | 125 | 0 | 125 | pc/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
346 | Manila |  |  | _1174 | Leaf Spring Assy Length: 45 inches, Thickness: 8mm, Pin Diameter: 25mm, Center Bolt: 11mm=7/16 | 5600 | 0 | 5600 | assy/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
347 | Manila |  |  | _1175 | Start Gasket ( END GASKET FOR L.O. COOLER) | 12 | 5 | 12 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
348 | Local |  |  | _1176 | Black Ballpen (Panda) | 101 | 0 | 101 | box/s | Warehouse Office | MHEC Warehouse | 1st Rack
349 | Local |  |  | _1177 | Correction Tape (10m) | 28.585 | 0 | 22.5 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
350 | Local |  |  | _1178 | Highlighter | 35 | 0 | 35 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
351 | Local |  |  | _1179 | Bond paper A4 | 160 | 0 | 160 | ream/s | Warehouse Office | MHEC Warehouse | 1st Rack
352 | Local |  |  | _1180 | Brown Envelop - Long | 3.25 | 0 | 4 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
353 | Local |  |  | _1181 | Brown Folder - Long | 5 | 0 | 5 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
354 | Local |  |  | _1182 | Binder Clip - Medium Size( Black) | 35 | 0 | 35 | box/s | Warehouse Office | MHEC Warehouse | 1st Rack
355 | Local |  |  | _1183 | Brown Envelop - Short | 2.5 | 0 | 3 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
356 | Local |  |  | _1184 | Pencil #2 | 74 | 0 | 74 | box/s | Warehouse Office | MHEC Warehouse | 1st Rack
357 | Local |  |  | _1185 | White Folder - short | 4 | 0 | 4 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
358 | Local |  |  | _1186 | Sticky Notes 3x4" | 32.875 | 0 | 32.5 | pad/s | Warehouse Office | MHEC Warehouse | 1st Rack
359 | Local |  |  | _1187 | DTR for Bundy Clock | 120 | 0 | 120 | pad/s | Warehouse Office | MHEC Warehouse | 1st Rack
360 | Local |  |  | _1189 | Small Envelop - small | 1 | 0 | 1 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
361 | Manila |  |  | _1190 | RS PRO RS380 AC Auto-Ranging Clamp Meter, Max Current:400A ac CAT III 600 V | 2809.06 | 0 | 2809.06 | set/s | Electrical Room | MHEC Warehouse | 2nd Rack
362 | Manila |  |  | _1191 | Face Mask | 35 | 0 | 35 | pc/s | Admin | Admin | Admin Office
363 | Manila |  |  | _1192 | Magnetic Contactor Schneider TeSys LC1D65, 65A 1Nc+1No; 440V | 4604.5 | 4 | 9200 | pc/s | Electrical Room | MHEC Warehouse | 3rd Rack | NA
364 | Manila |  |  | _1193 | High Tensile Bolt, Nut and Washer Size: 8mmx25mm | 6 | 50 | 6 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack | NA
365 | Local |  |  | _1194 | Grinding Disc (4"x1/4x5/8) per pc | 50 | 9 | 50 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
366 | Manila |  |  | _1195 | Blue Eagle Ear Muff | 250 | 0 | 250 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
367 | Local |  |  | _1196 | Acetylene Refill | 1300 | 0 | 1300 | cyl/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
368 | Local |  |  | _1197 | Oxygen Refill | 630 | 2 | 630 | cyl/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
369 | Manila |  |  | _1198 | Battery AA | 21 | 63 | 20 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
370 | Manila |  |  | _1198 | Nylon Cable Tie 2.5mmx10mm | 80 | 0 | 80 | pack/s | Warehouse Office | MHEC Warehouse | 1st Rack
371 | Manila |  |  | _1199 | Nylon Cable Tie 3.6mmx300mm | 150 | 1 | 150 | pack/s | Warehouse Office | MHEC Warehouse | 1st Rack
372 | Manila |  |  | _1200 | Nylon Cable Tie 4mmx300mm | 150 | 1 | 150 | pack/s | Warehouse Office | MHEC Warehouse | 1st Rack
373 | Manila |  |  | _1200 | Black Iron Pipe 1" Sched 80 | 1242.41 | 6 | 1242.41 | lgth/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
374 | Manila |  |  | _1201 | Black Iron Bolts and Nuts Size:M16 x 55mm | 27.82 | 48 | 27.82 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
375 | Manila |  |  | _1202 | B.I. Elbow 1" 90°, Type: welded | 50 | 4 | 50 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
376 | Manila |  |  | _1202 | B.I. Flange 1" x 150lbs | 200 | 12 | 200 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
377 | Manila |  |  | _1203 | U-bolt with seat and nut (black iron) 1" | 10 | 10 | 10 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
378 | Local |  |  | _1204 | Stretch Film 12" | 322.5 | 2 | 325 | roll/s | Warehouse Office | MHEC Warehouse | 1st Rack
379 | Local |  |  | _1205 | Garbage Bag Medium 100/pack | 440 | 0 | 440 | pack/s | Warehouse Office | MHEC Warehouse | 1st Rack
380 | Local |  |  | _1206 | Foam - Bed size | 290 | 3 | 280 | sht/s | Electrical Room | MHEC Warehouse | 1st Rack
381 | Local |  |  | _1207 | Glyphosel -Herbicide | 350 | 2 | 350 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
382 | Local |  |  | _1208 | Zonrox Bleach | 41 | 0 | 41 | ltr/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
383 | Local |  |  | _1209 | Isopropyl Alcohol 70% Solution | 448 | 0 | 420 | Gall/s | Warehouse Office | MHEC Warehouse | 1st Rack
384 | Manila |  |  | _1210 | MS Steel Plate 3mm x 4' x 8' | 3920 | 5 | 3920 | pc/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
385 | Local |  |  | _1211 | Green Plastic flat wire hexagonal mesh | 130 | 6 | 130 | mtr/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
386 | Local |  |  | _1212 | G.I. Union Patente 1" type: Threaded | 140 | 1 | 140 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
387 | Local |  |  | _1213 | Spray Bottle for Guard use, (2 liters capacity) | 300 | 0 | 300 | pc/s | Admin | MHEC Warehouse | Admin Office
388 | Local |  |  | _1214 | Chalk | 12.25 | 0 | 12 | box/s | Warehouse Office | MHEC Warehouse | 1st Rack
389 | Local |  |  | _1215 | Binder Clip - small (12pcs) | 25 | 0 | 25 | box/s | Warehouse Office | MHEC Warehouse | 1st Rack
390 | Local |  |  | _1216 | Binder Clip - Big size (12 pcs) | 70 | 0 | 70 | box/s | Warehouse Office | MHEC Warehouse | 1st Rack
391 | Local |  |  | _1217 | Yarn | 10 | 0 | 10 | roll/s | Warehouse Office | MHEC Warehouse | 1st Rack
392 | Local |  |  | _1218 | Puncher - Big | 185 | 0 | 185 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
393 | Local |  |  | _1219 | Epson printer ink - Cyan 70ml | 300 | 0 | 300 | bot/s | Warehouse Office | Warehouse Office | 1st Rack
394 | Local |  |  | _1220 | Epson Ink - Yellow 70ml | 300 | 0 | 300 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
395 | Local |  |  | _1221 | Oslo paper | 5 | 0 | 5 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
396 | Local |  |  | _1221 | Epson Ink - Magenta | 300 | 0 | 300 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
397 | Local |  |  | _1222 | Stapler - Big | 120 | 0 | 120 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
398 | Local |  |  | _1223 | Cement | 240 | 0 | 240 | bag/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
399 | Local |  |  | _1224 | Welding Rod 6011 for substation | 150 | 0 | 150 | kg/s | MHEC Warehouse | Warehouse Office | 1st Rack
400 | Manila |  |  | _1225 | Chemical Respiratory face mask - model: 3M- 3200 | 840 | 0 | 840 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
401 | Manila |  |  | _1226 | Chemical Cartridge - model: 3311K | 560 | 0 | 560 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
402 | Manila |  |  | _1227 | Working Uniform: Long Sleeve, Color: Dark Green, Size - Medium | 350 | 0 | 350 | pc/s | Admin | Admin | Admin Office
403 | Manila |  |  | _1228 | Working Uniform: Long Sleeve, Color: Dark Green, Size - Large | 350 | 0 | 350 | pc/s | Admin | Admin | Admin Office
404 | Manila |  |  | _1229 | Working Uniform: Long Sleeve, Color: Dark Green, Size - XL | 350 | 0 | 350 | pc/s | Admin | Admin | Admin Office
405 | Manila |  |  | _1230 | Working Uniform: Long Sleeve, Color: Dark Green, Size - 2XL | 350 | 0 | 350 | pc/s | Admin | Admin | Admin Office
406 | Manila |  |  | _1231 | TDS and EC Meter, Measuring range: TDS: 0 - 9999, Conductivity: 0 - 9990 & micro: s/cm | 605 | 1 | 605 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
407 | Local |  |  | _1232 | Epson Ink - Black 70ml | 286.6667 | 1 | 280 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
408 | Manila |  |  | _1233 | Cutter Pin (high tensile steel) size: 6mm x 50mm | 30 | 20 | 30 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
409 | Manila |  |  | _1234 | Cutter Pin (high tensile steel) size: 5mm x 45mm 'for indicator valve' | 20 | 0 | 20 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
410 | Local |  |  | _1235 | Surgical Gloves | 650 | 0 | 650 | box/s | Admin | Admin | Admin Office
411 | Local |  |  | _1236 | Glue (Glue All) 130g | 58 | 0 | 58 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
412 | Local |  |  | _1237 | Zonrox 1 liter (for cleaning) | 37.5 | 0 | 38 | ltr/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
413 | Local |  |  | _1238 | Joy Liquid bottle 800ml | 215 | 0 | 215 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
414 | Local |  |  | _1239 | Scotch Brite | 36 | 0 | 36 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
415 | Local |  |  | _1240 | Liquid Hand Soap 1000ml | 115 | 0 | 115 | bot/s | Admin | MHEC Warehouse | Admin Office
416 | Manila |  |  | _1241 | Electrical Tape 1" | 28.75 | 8 | 38 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
417 | Local |  |  | _1242 | Detergent (Surf Powder 1.1kg) | 98 | 13 | 106 | pack/s | Electrical Room | MHEC Warehouse | 2nd Rack
418 | Local |  |  | _1243 | Denatured Alcohol (EIC-cleaning) | 35 | 5 | 35 | bot/s | Electrical Room | MHEC Warehouse | 2nd Rack
419 | Local |  |  | _1244 | MOP (housekeeping) | 85 | 4 | 85 | pc/s | Electrical Room | MHEC Warehouse | 2nd Rack
420 | Manila |  |  | _1245 | Graphite Gasket w/SS304 wire 1/8" x 5ft | 9135.46 | 1 | 9135.46 | sht/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
421 | Manila |  |  | _1246 | Asbestos tape dust free 1/8" x 2" x 100ft | 1496.32 | 2 | 1496.32 | roll/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
422 | Manila |  |  | _1247 | Non-Asbestos (fiberglass) 3mm x 3" x 100ft | 2262.4 | 2 | 2262.4 | roll/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
423 | Local |  |  | _1248 | Scotch tape clear 1" | 7.25 | 0 | 7.25 | pc/s | Electrical Room | MHEC Warehouse | Warehouse Ground
424 | Local |  |  | _1249 | Folder white - short | 2.5 | 0 | 2.5 | pc/s | Electrical Room | MHEC Warehouse | Warehouse Ground
425 | Local |  |  | _1250 | Folder white - long | 3 | 0 | 3 | pc/s | Electrical Room | MHEC Warehouse | Warehouse Ground
426 | Local |  |  | _1251 | Correction tape(1) | 18 | 0 | 18 | pc/s | Electrical Room | MHEC Warehouse | Warehouse Ground
427 | Local |  |  | _1252 | Sticky notes (1/8) | 11 | 0 | 11 | pad/s | Electrical Room | MHEC Warehouse | Warehouse Ground
428 | Manila |  |  | _1253 | Metal Polish 150g | 250 | 2 | 250 | can/s | Warehouse Office | MHEC Warehouse | 1st Rack
429 | Manila |  |  | _1254 | Computer Desktop Set (Clone i5 CPU Intel Core i5 10400, ASUS H410MD, 8gb ddr4 desktop memory, seagate 1tb sata, ATX casing with psu, A4tech mouse & keyboard, DLink DWA-121 wireless N150 Pico USB adapter, AOC 18.5 EP9705SWN, BX625CI-MS APC Back-UPS 625V | 29 | 0 | 29 | unit | Electrical Room | MHEC Warehouse | 1st Rack
430 | Manila |  |  | _1255 | Vellumoid Gasket 1/16" thickness x 1mtr width x 20mtrs length | 15675 | 1 | 15675 | roll/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
431 | Local |  |  | _1256 | Surf Detergent Powder 1.3kg | 220 | 4 | 220 | pack/s | Warehouse Office | MHEC Warehouse | 1st Rack
432 | Local |  |  | _1257 | Welding Rod 6013 | 100 | 9 | 100 | kg/s | MHEC Warehouse | MHEC Warehouse | 3rd Rack
433 | Local |  |  | _1258 | Masonry Drill Bit (2mm, 4mm,5mm,6mm,7mm,8mm,9mm,10mm,12mm) | 500 | 1 | 500 | set/s | Warehouse Office | MHEC Warehouse | 1st Rack
434 | Local |  |  | _1259 | Scotch Tape 1/2 | 12 | 2 | 12 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
435 | Manila |  |  | _1260 | Allen Set Screw 1/2 x 1/2" | 6 | 12 | 6 | pc/s | MHEC Warehouse | MHEC Warehouse | 2nd Rack
436 | Manila |  |  | _1261 | Safety Shoes, Size: 8" Brand: Lemaitre LMC152 Colmar, high cut with steel thickness, 120N tear-resistance; 15N/mm stretch resistance | 1865 | 0 | 1865 | pair/s | Warehouse Office | MHEC Warehouse | 1st Rack
437 | Manila |  |  | _1262 | Safety Shoes, Size: 7" Brand: Lemaitre LMC152 Colmar, high cut with steel thickness, 120N tear-resistance; 15N/mm stretch resistance | 1865 | 0 | 1865 | pair/s | Warehouse Office | MHEC Warehouse | 1st Rack
438 | Local |  |  | _1263 | Flat Male- Female terminal | 8 | 0 | 8 | pair/s | Warehouse Office | MHEC Warehouse | 1st Rack
439 | Local |  |  | _1264 | Automotive Wire #16 | 20 | 0 | 20 | mtr/s | Warehouse Office | MHEC Warehouse | 1st Rack
440 | Local |  |  | _1265 | Terminal Lugs | 25 | 0 | 25 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
441 | Local |  |  | _1266 | Ignition or Starter Switch | 700 | 0 | 700 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
442 | Local |  |  | _1266 | WD-40 (191ml) | 220 | 0 | 220 | can/s | Warehouse Office | MHEC Warehouse | 1st Rack
443 | Local |  |  | _1267 | Whiteboard Marker | 63 | 0 | 63 | pc/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
444 | Local |  |  | _1268 | Double sided tape - 1" | 31 | 0 | 31 | pc/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
445 | Local |  |  | _1269 | Thumbtacks | 8 | 0 | 8 | box/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
446 | Local |  |  | _1270 | Sticky Note 2" x 1.5" | 17 | 0 | 17 | pad/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
447 | Local |  |  | _1271 | Sticky Note 2" x 3" | 19 | 0 | 19 | pad/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
448 | Local |  |  | _1272 | Expanded Folder - Yellow | 17 | 0 | 17 | pc/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
449 | Local |  |  | _1273 | Sticky Note - 3" x 3" | 26 | 0 | 26 | pad/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
450 | Local |  |  | _1274 | Tape Dispenser | 85 | 0 | 85 | pc/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
451 | Local |  |  | _1275 | Paper Clip - small | 12 | 0 | 12 | box/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
452 | Local |  |  | _1276 | Scissor (Large) | 48 | 0 | 48 | pc/s | Warehouse Office | MHEC Warehouse | Warehouse Ground
453 | Manila |  |  | _1277 | Copper Gasket, Inside diameter: 14.30mm, outside diameter: 19.50mm, thickness: 2mm | 215 | 0 | 215 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
454 | Manila |  |  | _1278 | High quality Copper gasket, OD: 14.60mm, ID: 10.35mm, thickness: 1mm | 142.3 | 0 | 142.3 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
455 | Manila |  |  | _1279 | High quality Copper gasket, OD: 18mm, ID: 14.10mm, thickness: 1.35mm | 183.07 | 0 | 183.07 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
456 | Manila |  |  | _1280 | High quality Copper gasket, OD: 21.85mm, ID: 14.0mm, thickness: 1.0mm | 183.07 | 0 | 183.07 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
457 | Manila |  |  | _1281 | High quality Copper gasket, OD: 24.40mm, ID: 16.70mm, thickness: 90mm | 208.84 | 0 | 208.84 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
458 | Manila |  |  | _1282 | High quality Copper gasket, OD: 28.80mm, ID: 21.60mm, thickness: 1mm | 233.84 | 0 | 233.84 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
459 | Manila |  |  | _1283 | Flanged end swing check valve, size: 2", material: bronze, flange 4 holes | 4080 | 0 | 4080 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
460 | Manila |  |  | _1284 | Forklift Hydraulic Lift Seal Kit | 157.5 | 2 | 157.5 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
461 | Local |  |  | _1285 | Bolts and Nuts M16 x 55mm with plain washer and lock washer | 52 | 5 | 52 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
462 | Local |  |  | _1286 | Industrial Paint Marker (white) | 155 | 2 | 155 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
463 | Manila |  |  | _1287 | Ofix Deluxe Mid Black Chair (Gray) | 1899 | 2 | 1899 | pc/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
464 | Manila |  |  | _1288 | Blue Eagle Safety Helmet Pinlock w/ Chin Strap (Blue) | 280 | 0 | 280 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
465 | Manila |  |  | _1289 | Blue Eagle Safety Helmet Pinlock w/ Chin Strap (White) | 280 | 0 | 280 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
466 | Manila |  |  | _1290 | Safegear Clear Lens w/ Adj. stems B507 | 100 | 0 | 100 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
467 | Manila |  |  | _1291 | Respiratory Mask, North 5500, Medium | 1050 | 0 | 1050 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
468 | Manila |  |  | _1292 | Respirator Cartridge, North 75SCL, Multi-Contaminant Defender | 1050 | 0 | 1050 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
469 | Local |  |  | _1293 | Scotch-Brite (scrubbing pad) | 29 | 3 | 29 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
470 | Local |  |  | _1294 | Sand paper #100 | 15 | 20 | 15 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
471 | Local |  |  | _1295 | Sand Paper #800 | 15 | 19 | 15 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
472 | Manila |  |  | _1296 | G.I. Elbow 90° Sch. 80 (standard) 1" | 400 | 2 | 400 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
473 | Manila |  |  | _1297 | G.I. Tee Sch. 80 (standard) 1" | 535 | 1 | 535 | pc/s | MHEC Warehouse | MHEC Warehouse | 1st Rack
474 | Manila |  |  | _1298 | Contact Cleaner (Hardex 400ml) | 264 | 2 | 264 | can/s | Warehouse Office | MHEC Warehouse | 1st Rack
475 | Manila |  |  | _1299 | Sand Paper #120 | 3.75 | 20 | 3.75 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
476 | Manila |  |  | _1300 | Sand Paper #220 | 3.75 | 20 | 3.75 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
477 | Manila |  |  | _1301 | Sand Paper #320 | 5.75 | 20 | 5.75 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
478 | Manila |  |  | _1302 | Sand Paper #1000 | 18.5 | 20 | 18.5 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
479 | Manila |  |  | _1303 | Allen Wrench Key (1.5mm - 10mm) | 195 | 2 | 195 | set/s | Warehouse Office | MHEC Warehouse | 1st Rack
480 | Manila |  |  | _1304 | Spatula SP175 Stainless Steel | 84 | 2 | 84 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
481 | Manila |  |  | _1305 | Stirring Rod 7mm x 255mm | 85 | 1 | 85 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
482 | Manila |  |  | _1306 | Rounded Boiling Flask 1L (pyrex 4100) Flat bottom | 1200 | 2 | 1200 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
483 | Manila |  |  | _1307 | Graduated Cylinder: 100ml (pyrex 2982) | 1480 | 2 | 1480 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
484 | Manila |  |  | _1308 | Glass Funnel: 100ml (pyrex 6180) | 545 | 2 | 545 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
485 | Manila |  |  | _1309 | Beaker 250ml Low Form (pyrex 1000) | 154 | 2 | 154 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
486 | Local |  |  | _1310 | Folder brown - short | 5 | 0 | 5 | pc/s | MHEC Warehouse | Warehouse Office | 1st Rack
487 | Local |  |  | _1311 | Marker Ink Refill - Black | 90 | 0 | 90 | bot/s | Warehouse Office | MHEC Warehouse | 1st Rack
488 | Local |  |  | _1312 | Clear Book Refillable- (20 pages) | 50 | 0 | 50 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
489 | Manila |  |  | _1313 | LED Basic Flood Light (200 Watts Day Light) | 2400 | 0 | 2400 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
490 | Local |  |  | _1314 | Toilet Cleaner | 45 | 0 | 45 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
491 | Manila |  |  | _1316 | Cotton Rags (colored) | 40 | 180 | 40 | kg/s | Electrical Room | MHEC Warehouse | Warehouse Ground
492 | Manila |  |  | _1317 | Paint Brush 4" | 40 | 5 | 40 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
493 | Manila |  |  | _1317 | Roller Brush 9" | 32 | 2 | 32 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
494 | Local |  |  | _1318 | Pride Powerwash Detergent 1000g | 91.5 | 2 | 91.5 | grm/s | Warehouse Office | MHEC Warehouse | 1st Rack
495 | Local |  |  | _1319 | TP Link 24-port 10/100Mbps | 2800 | 1 | 2800 | pc/s | Electrical Room | MHEC Warehouse | 1st Rack
496 | Local |  |  | _1320 | RJ45 | 5 | 30 | 5 | pc/s | Electrical Room | Electrical Room | 1st Rack
497 | Local |  |  | _1321 | UTP CABLE | 10 | 100 | 10 | mtr/s | Electrical Room | MHEC Warehouse | 1st Rack
498 | Local |  |  | _1322 | KOTEN CIRCUIT BREAKER 60AMPS | 450 | 0 | 450 | pc/s | Electrical Room | MHEC Warehouse | 4th Rack
499 | Local |  |  | _1323 | MOP Head | 60 | 2 | 60 | pc/s | Warehouse Office | MHEC Warehouse
500 | Local |  |  | _1324 | Garbage Bag XL 100pcs/pack | 750 | 1 | 750 | pack/s | Warehouse Office | MHEC Warehouse
501 | Local |  |  | _1325 | POLYESTER FILTER CLOTH | 2750 | 1 | 2750 | roll/s | Warehouse | MHEC Warehouse
502 | Local |  |  | _1326 | Engine Cleaning Gun | 850 | 1 | 850 | pc/s | Warehouse Office | MHEC Warehouse
503 | Local |  |  | _1327 | Electrical Tape 1'' (For PMS) | 38 | 6 | 38 | pc/s | Warehouse Office | MHEC Warehouse
504 | Local |  |  | _1328 | RTV GASKET (For PMS) | 120 | 4 | 120 | pc/s | Warehouse Office | MHEC Warehouse
505 | Local |  |  | _1329 | Denatured Alcohol ( For PMS) | 35 | 4 | 35 | bot/s | Warehouse Office | MHEC Warehouse
506 | Local |  |  | _1330 | Hydrotur T68 (18liters/pail) | 3315 | 2 | 3315 | pail/s | MHEC Warehouse | MHEC Warehouse | Warehouse Ground
507 | Manila |  |  | _1331 | Contact Cleaner (For PMS) | 380 | 2 | 380 | can/s | Warehouse Office | MHEC Warehouse
508 | Local |  |  | _1334 | Alcohol 4Liters/Gal | 474.5 | 0 | 474.5 | ltr/s | Electrical Room | MHEC Warehouse
509 | Local |  |  | _1335 | Sand Paper #180 | 15 | 20 | 15 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
510 | Manila |  |  | _1336 | Cotton Gloves (For PMS) | 8.5 | 132 | 8.5 | pc/s | Electrical Room | MHEC Warehouse
511 | Manila |  |  | _1337 | 3/4 dr. 17mm hex socket (black) | 1150 | 3 | 1150 | pc/s | Warehouse Office | MHEC Warehouse
512 | Manila |  |  | _1338 | 17mm L type hex key | 190 | 1 | 190 | pc/s | Warehouse Office | MHEC Warehouse
513 | Local |  |  | _1332 | Toilet Bowl Cleaner |  | 0 | 0 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
514 | Local |  |  | _1333 | Powder Soap |  | 0 | 0 | kg/s | Warehouse Office | MHEC Warehouse | 1st Rack
515 | Local |  |  | Z560101124Z | O-RING P11 | 68.61 | 0 | 0 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
516 | Local |  |  | E325970160Z | Push rod retainer | 2120.15 | 0 | 0 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
517 | Local |  |  | E326370080Z | Shaft, head cover nut | 2523.12 | 0 | 0 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
518 | Local |  |  | 32114 | Locking Plate (1) | 650 | 0 | 0 | pc/s | Warehouse | MHEC Warehouse | 3rd Rack
519 | Local |  |  | _1188 | Expansion Envelop | 15 | 0 | 0 | pc/s | Warehouse Office | MHEC Warehouse | 1st Rack
Prepared By: |  |  | Checked By: |  | Approved By:
Warehouse Personnel |  |  | Warehouse Supervisor |  | Plant Director/Plant Manager